**PART 1 – GENERAL**

**1.00 SUMMARY**

A. Section Includes:

1. Tables

2. Shelves

3. Support Structures

B. Related Sections:

1. Section 11603 - Laboratory Equipment

2. Section 12344 - Wood Laboratory Casework

3. Section 12345 – Steel Laboratory Casework

**1.01 ALTERNATE PROPOSALS**

Proposals are invited from alternate manufacturers only if they comply with the minimum design requirements and the minimum performance requirements. A notarized letter stating full compliance must be included in alternate proposals signed by an officer of the manufacturer to ensure compliance.

**1.02 SYSTEM DESIGN REQUIREMENTS**

A. Modular dimensioned system of support structures and tables.

B. Support structure for cantilevered tables, storage units and shelves.

C. System requirements:

1. Independently support work surfaces, undercounter cabinets, and overhead storage components.

2. Structural components are essentially self-supporting and independent of the building structure.

3. Cabinet fastening devices cannot be accidentally released from framing system. Intentional release can be easily accomplished without disturbing the cabinet contents by loosening two bolts.

1. Base cabinets can be removed without removal of the work surface and can be relocated while fully loaded and installed in any position between table legs.

5. Lifting column shall be approved according to EN 60335-1.

6. Vertical height of mobile workstation system can be accomplished through linear actuator with remote control mechanisms.

7. Lifting column maximum thrust per pair of legs shall be 1000lbs.

8. Mobile workstation shall be equipped with removable upright supports to accommodate height adjustable shelves and wall cases.

9. Mobile workstation shall be equipped with leveling casters capable to supporting 1280 lbs.

**1.03 SUBMITTALS**

A. Shop Drawings: Provide 3/4" = 1'-0" scale elevations of all components, cross sections, rough-in and anchor placements, tolerances and clearances. Provide 1/4" = 1'0" rough-in plan drawings for coordination with other work.

B. Structural calculations and shop drawings are required to be submitted and approved by the Owner's Representative prior to product being manufactured.

C. Before commencement of full production manufacturing, submit for Owner's Representative's approval, one complete mobile workstation as shown on architectural construction documents. Do not proceed with full production of the mobile workstation before receiving written approval of the sample unit and approval of other submittal items listed above.

**1.04 QUALITY ASSURANCE**

A. Single source responsibility: Casework, work surfaces, laboratory metal workstation frames and shelving units and all accessories shall be furnished by a single, laboratory casework contractor.

B. Manufacturers are required to manufacture the product as shown on the drawings and as specified herein, no exceptions.

C. Manufacturer's qualifications: Modern plant with proper tools, dies, fixtures and skilled workmen to produced high quality laboratory mobile workstations and casework, and shall meet the following minimum requirements:

1. Five years or more experience in manufacture of laboratory casework and equipment of type specified.

2. Ten installations of equal or larger size with similar requirements.

**1.05 REFERENCE STANDARDS**

1. All casework, work surface and service fixture construction and performance characteristics shall be in full compliance with ***SEFA*** (Scientific Equipment and Furniture Association) standards. At the owner’s request, independent, third party testing must be submitted validating compliance and adheres to the architectural specifications:  
   SEFA 2.3 – Installation of Scientific Laboratory Furniture and Equipment.
   1. SEFA 3 – Work Surfaces
   2. SEFA 7 – Laboratory and Hospital Fixtures
   3. SEFA 8 – Laboratory Furniture

**1.06 DELIVERY, STORAGE AND HANDLING**

A. Schedule delivery of mobile workstation system so that lab spaces are sufficiently complete in order that material can be installed immediately following delivery.

B. Protect finished surfaces from soiling or damage during handling and installation.

**1.07 PROJECT CONDITIONS**

A. Do not deliver or assemble equipment until the following conditions have been met:

1. Windows and doors are installed and the building is secure and weather tight.

2. Ceiling, overhead ductwork and lighting are installed.

3. All painting is completed and floor tile is installed.

**PART 2 – PRODUCTS**

**2.01 MANUFACTURER**

A. Laboratory mobile workstation system manufacturer: Hamilton Laboratory Solutions, 825 East Albert Drive, Manitowoc, WI 54220.

**2.02 SUPPORT STRUCTURES**

A. General requirements for:

1. Work surface support frame: 11 gauge cold rolled steel tubing. Cabinet support channels: 14 gauge cold rolled steel. Weld members using the inert gas process.

2. Support arms: 11 gauge cold rolled steel.

3. End caps: Flame resistant ABS plastic, color matched.

4. Finish: Chemical resistant powder coat paint finish in manufacturer’s standard offering.

B. Mobile Workstation Assembly:

1. Nominal frame dimensions:

a. Width: [36"] [42”] [48”] [60”] [72”]

b. Depth: [30"}

c. Height adjustment: 28” through 40” AFF

2. Capable of infinite vertical adjustment by the sequenced control of linear actuators.

3. Each lift column shall be equipped a cable mechanism switched to a control box. The control box will parallel the two columns through reed switches.

4. Cantilever table frame shall provide support channels from which suspended cabinets can be hung and adjusted horizontally.

5. 30" deep table frame must allow suspended base cabinets to be positioned in between the lift column uprights.

6. Weight capacity: Work surface plus 1000 pounds.

7. Leveling castors shall support a total live load of 1280 lbs. Leveling casters shall provide a means of transporting the mobile workstation into the desired location and lift the workstation into a stationary vertical/horizontal level position.

**2.03 SHELVES**

A. General requirements for shelves:

1. Shelves, hat channel supports, and separate 2" high seismic lip: 18 gauge cold rolled steel.

2. Shelf brackets: 11 gauge cold rolled steel.

3. Vertical shelf adjustment: One inch increments.

4. Depth and weight capacity: [6" = 180 lbs.] [8" = 180 lbs.] [12" = 180 lbs.] [18" = 130 lbs.] [24" = 100 lbs.]

**2.04 SUSPENDED WALL CASES**

A. Design requirements, performance requirements, materials, fabrication and hardware shall comply in all respects with fixed wood and/or steel casework specifications in this section.

B. Suspended wall case hardware: Provide a system of steel hanger rails attached to the casework frames, to be vertically adjustable on one inch increments. Installation and removal of suspended wall cases to be accomplished without the use of tools.

**2.05 SUPPORT STRUCTURES**

A. General requirements for panel type support structures:

1. Riser uprights: 16 gauge cold rolled steel.

2. Vertical upright: notched for one inch adjustment of components supported off riser upright.

3. Cart base: 2" x 4" - 7 gauge steel rectangular tubing welded together.

4. Casters: Provide (4) leveling casters to carry 320 lb. min. each. Each caster must swivel and incorporate a retractable leveling foot.

5. End caps: ABS plastic, color matched.

6. Finish: Chemical resistant powder coat paint finish in standard Hamilton colors.

7. The maximum total load rating of unit is 1280 lbs including workstation components.

8. The overall height of the mobile cart is 66" to 78"; depth is 30".

9. The vertical upright supports can be added and/or removed at any time to accommodate equipment, procedure and storage requirements.

10. Mobile cart must be able to be tipped 10 degrees in any direction with no accessories attached and be able to right itself to its upright position.

**2.06 CHEMICAL PHENOLIC RESIN WORK SURFACE**

1. Material: Work surfaces shall be phenolic resin constructed of thermoset resins and layers of kraft paper formed into a monolithic slab under high heat and pressure, then surfaced with melamine. Phenolic resin work surfaces shall be Trespa TopLab™ product or approved equal. Provide material in color selected by Owner's Representative from manufacturer's full range of standard colors.

**2.07 METAL FINISH**

A. Metal finish:

1. Preparation: Spray clean metal with a heated cleaner/phosphate solution, pre-treat with iron phosphate spray, water rinse, and neutral final seal. Immediately dry in heated ovens, gradually cooled, prior to application of finish.

2. Application: Electrostatically apply urethane powder coat of selected color and bake in controlled high temperature oven to assure a smooth, hard satin finish. Surfaces shall have a chemical resistant, high grade laboratory furniture quality finish of the following thickness: **Liquid, dipped, solvent based finishes are not and will not be acceptable.**

a. Exterior and interior exposed surfaces: 1.5 mil average and 1.2 mil min.

b. Backs of cabinets and other surfaces not exposed to view: 1.2 mil average.

B. Cabinet Surface Finish Tests:

**All casework construction and performance characteristics shall be in full compliance with SEFA 8 standards.** At the owner’s request, independent, third party performance testing must be submitted validating compliance and adheres to the finish specifications.

## 1. **Chemical Spot Test**

### 1.1 Purpose of Test

The purpose of the chemical spot test is to evaluate the resistance a finish has to chemical spills.

**Note:** Many organic solvents are suspected carcinogens, toxic and/or flammable. Great care should be exercised to protect personnel and the environment from exposure to harmful levels of these materials.

### 1.2 Test Procedure

Obtain one sample panel measuring 14" x 24" (355.6mm x 609.6mm). The received sample to be tested for chemical resistance as described herein.

Place panel on a flat surface, clean with soap and water and blot dry. Condition the panel for 48-hours at 73+ 3F (23(+ 2(C) and 50+ 5% relative humidity.

Test the panel for chemical resistance using forty-nine different chemical reagents by one of the following methods:

**Method A –** Test volatile chemicals by placing a cotton ball saturated with reagent in the mouth of a one-ounce (29.574cc) bottle and inverting the bottle on the surface of the panel.

**Method B –** Test volatile chemicals by placing five drops of the reagent on the surface of the panel and covering with a 24mm watch glass, convex side down.

For both of the above methods, leave the reagents on the panel for a period of **one hour.** Wash off the panel with water, clean with detergent and naphtha, and rinse with deionized water.

Dry with a towel and evaluate after 24-hours at 73±3°F (23°±2°C) and 50±5% relative humidity using the following rating system:

**Level 0 –** No detectable change.

**Level 1 –** Slight change in color or gloss.

**Level 2 –** Slight surface etching or severe staining.

**Level 3 –** Pitting, cratering, swelling, or erosion of coating. Obvious and significant deterioration.

**Test No. Chemical Reagent Test Method**

1. Acetate, Amyl A

2. Acetate, Ethyl A

3. Acetic Acid, 98% B

4. Acetone A

5. Acid Dichromate, 5% B

6. Alcohol, Butyl A

7. Alcohol, Ethyl A

8. Alcohol, Methyl A

9. Ammonium Hydroxide, 28% B

10. Benzene A

11. Carbon Tetrachloride A

12. Chloroform A

13. Chromic Acid, 60% B

14. Cresol A

15. Dichlor Acetic Acid A

16. Dimethylformanide A

17. Dioxane A

18. Ethyl Ether A

19. Formaldehyde, 37% A

20. Formic Acid, 90% B

21. Furfural A

22. Gasoline A

23. Hydrochloric Acid, 37% B

24. Hydrochloric Acid, 48% B

25. Hydrogen Peroxide, 3% B

26. Iodine, Tincture of B

27. Methyl Ethyl Ketone A

28. Methylene Chloride A

29. Mono Chlorobenzene A

30. Naphthalene A

31. Nitric Acid, 20% B

32. Nitric Acid, 30% B

33. Nitric Acid, 70% B

34. Phenol, 90% A

35. Phosphoric Acid, 85% B

36. Silver Nitrate, Saturated B

37. Sodium Hydroxide, 10% B

38. Sodium Hydroxide, 20% B

39. Sodium Hydroxide, 40% B

40. Sodium Hydroxide, Flake B

41. Sodium Hydroxide, Saturated B

42. Sulfuric Acid, 33% B

43. Sulfuric Acid, 77% B

44. Sulfuric Acid, 96% B

45. Sulfuric Acid, 77% and Nitric

Acid, 70%, equal parts B

46. Toluene A

47. Trichloroethylene A

48. Xylene A

49. Zinc Chloride, Saturated B

### 1.3 Acceptance Level

Results will vary from manufacturer to manufacturer. **Laboratory grade finishes should result in no more than four Level 3 conditions.** Suitability for a given application is dependent upon the chemicals used in a given laboratory.

## 2. **Hot Water Test**

### 2.1 Purpose of Test

The purpose of this test is to insure the coating is resistant to hot water.

### 2.2 Test Procedure

Hot water, 190°F to 205°F (88°C to 96°C), shall be allowed to trickle (with a steady stream and at a rate of not less than 6 ounces (177.44cc) per minute on the surface, which shall be set at an angle of 45-degrees, for a period of five minutes.

### 2.3 Acceptance Level

After cooling and wiping dry, the finish shall show no visible effect from the hot water.

## 3. **Impact Test**

### 3.1 Purpose of Test

The purpose of this test is to evaluate the ductility of the coating.

### 3.2 Test Procedure

A one-pound ball approximately 2" (50.8mm) in diameter shall be dropped from a distance of 12" (304.8mm) onto a flat horizontal surface, coated to manufacturer’s standard manufacturing method.

### 3.3 Acceptance Level

There shall be no visible evidence to the naked eye of cracks or checks in the finish due to impact.

## 4. **Paint Adhesion on Steel Test**

### 4.1 Purpose of Test

The paint adhesion test is used to determine the bond of the coating to steel. This does not apply to non-steel products.

### 4.2 Test Procedure

This test is based on ASTM D2197-86 “Standard Method of Test for Adhesion of Organic Coating”. Two sets of eleven parallel lines 1/16" (1.587mm) apart shall be cut with a razor blade to intersect at right angles thus forming a grid of 100 squares. The cuts shall be made just deep enough to go through the coating, but not into the substrate. They shall then be brushed lightly with a soft brush for one minute. Examine under 100-foot candles of illumination.

### 4.3 Acceptance Level

Ninety or more of the squares shall show finish intact.

## 5. **Paint Hardness on Steel Test**

### 5.1 Purpose of Test

The paint hardness test is used to determine the resistance of the coatings to scratches.

### 5.2 Test Procedure

Pencils, regardless of their brand, are valued in this way: 8-H is the hardest, and next 11 order of diminishing hardness are 7-H, 6-H, 5-H, 4-H, 3-H, 2-H, H, F, HB, B (soft), 2-B, 3-B, 4-B, 5-B (which are softest).

The pencils shall be sharpened on emery paper to a wide sharp edge. Pencils of increasing hardness shall be pushed across the paint film in a chisel-like manner until one is found that will cut or scratch the film. The pencil used before that one, that is the hardest pencil that will not rupture the film, is then used to express or designate the hardness.

### 5.3 Acceptance Level

The paint shall have a hardness of 4-H minimum.

**PART 3 – EXECUTION**

**3.01 INSTALLATION**

A. Cart system installation:

1. Assemble system in strict accordance with manufacturer's instructions.

**3.02 ADJUSTING**

A. Repair or remove and replace defective work, as directed by (Owner's representative) upon completion of installation.

**3.03 CLEANING**

A. Clean shop finished laboratory furniture system surfaces and touch up as required.

**3.04 PROTECTION OF FINISHED WORK**

A. Do not install until construction is complete on the project.

B. Advise Owner's Representative of procedures and precautions for protection of material, installed laboratory furniture system, casework and fixtures from damage by other work.

## END OF SECTION